## Slide 1: Power Plant Technology Energy Conservation in Power Plants (Lecture 1)
by
Mohamad Firdaus Basrawi, Dr. (Eng) Mechanical Engineering Faculty mfirdausb@ump.edu.my

## Slide 2
http://www.centreforenergy.com/AboutEnergy/Electricity/Distribution/Overview.asp?page=1
1
2
3
1
Engine: Fuel -> shaft work 30% of efficiency
Generator: Shaft work -> electricity 95% of efficiency
2
4
3
Transmission: Low voltage -> high voltage Carry electricity with less losses
4
Distribution: High voltage -> Low voltage Distribute electricity to consumer
92-94% of efficiency
138-765kV
1-9kV
0.1-0.24kV
Power generation and transmission

## Slide 3
Distributed generation and Why?
http://www.globalspec.com/reference/24574/203279/chapter-28-fuel-cell-power-electronics-for-distributed-generation
Close to the user (no transmission losses and less grid cost)
Using other available energy (CHP and RE)
Using waste heat for power generation
Can be connected to grid (Can receive and sell electricity)
Vid1

## Slide 4
In a conventional grid, utility supply according to historical data from meter.
Spinning reserve unit is needed to avoid grid failure.
A smart grid includes ICT to enable two-way communication between supplier and consumer automatically to improve the techno-economics, reliability, and sustainability of the generation and distribution of power.
Distributed generation is better with Smart Grid
http://solutions.3m.com/wps/portal/3M/en_EU/SmartGrid/EU-Smart-Grid/
Vid2, 3
Traditional Grid | Smart Grid
Electric Machinery | Digital
One-way communication | Two-way communication
Centralized power generation | Distributed power generation
A small number of sensors | Full grid sensor layout
Manual Monitoring | Automatic monitoring
Manual recovery | Automatic recovery
Failures and power outages | Adaptive and islanded
Few user options | More user options

## Slide 5
In the real world situation?
Excluding remote area, distrubuted generation is not that attractive due to the penetration of grid to various places and low electricity tariff. But government are promoting it by various policies to reduce energy cost.
The government policy of subsidized gas prices and electricity tariffs as well as standby charges for grid connection are deterring cogeneration development in Malaysia (Danish Environmental Cooperation (DANIDA), 2005a, 2005b).
In pursuance with the Malaysian government drive to promote cogeneration, several financial incentive measures were put in place such as the exemption of up to 70% tax on statutory income for 5 years, exemption of import duty and sales taxes for equipment used in cogeneration projects (including energy conservation equipment) that are not produced indigenously as well as a sales tax exemption for equipment purchased from local manufacturers, and writing off accelerated capital allowance on cogeneration-related equipment within a period of 1 year. In addition other regulatory and logistical incentives were advocated to facilitate faster growth of cogeneration systems in the country (Azit and Nor, 2009)

## Slide 6
Catalog of CHP Technologies, US Environmental Protection Agency Combined and Power Partnership
Cogeneration system or Combined Heat Power (CHP)
Not found

## Slide 7
Catalog of CHP Technologies, US Environmental Protection Agency Combined and Power Partnership
Cogeneration system or Combined Heat Power (CHP)
Not found

## Slide 8
Trigeneration system or Combined Cooling Heat Power (CCHP)
http://oneclimateonechallenge.blogspot.com/2012/06/sydney-provoking-2030.html

## Slide 9
http://oneclimateonechallenge.blogspot.com/2012/06/sydney-provoking-2030.html
Trigeneration system or Combined Cooling Heat Power (CCHP)
Pe
Qfuel
Qehe
Qehe,cool

## Slide 10
Prime mover
Gas turbine

## Slide 11
Prime mover
Gas turbine

## Slide 12
Prime mover
Gas turbine

## Slide 13
Prime mover
Gas turbine

## Slide 14
Prime mover
Micro Gas turbine
http://www.sarlin.com/sarlin_products/Capstone--C200---C1000-micro-turbines/u2go1tyx/ea7d210b-86de-4955-89c2-746b6c4232c2

## Slide 15
Prime mover
Micro Gas turbine

## Slide 16
Prime mover
Micro Gas turbine

## Slide 17
Prime mover
Micro Gas turbine

## Slide 18
Prime mover
Micro Gas turbine

## Slide 19
Prime mover
Micro Gas turbine

## Slide 20
Prime mover
Reciprocating Engine
http://www.cres.gr/kape/education/3.CHP_en_small.pdf

## Slide 21
Prime mover
Reciprocating Engine

## Slide 22
Prime mover
Reciprocating Engine

## Slide 23
Prime mover
Reciprocating Engine

## Slide 24
Prime mover
Reciprocating Engine

## Slide 25
Prime mover
Reciprocating Engine

## Slide 26
Prime mover
Reciprocating Engine

## Slide 27
Prime mover
Fuel Cell

## Slide 28
Prime mover
Fuel Cell
http://www.knowledgepublications.com/gw3h2/gw3h2_just_doe_fuel_cell_book_long.htm

## Slide 29
Prime mover
Fuel Cell

## Slide 30
Prime mover
Fuel Cell
 | PEMFC | AFC | PAFC | MCFC | SOFC
Type of Electrolyte | H+ ions(with anions bound in polymer membrane) | OH- ions (typically aqueous KOH solution) | H+ ions (H3PO4 solutions) | CO32- ions (typically , molten LiKaCO3 eutectics) | O2- ions( stabilized ceramic matrix with free oxide ions)
Typical construction | Plastic, metal or carbon | Plastic, metal | Carbon, porous ceramics | High temp metals, porous ceramic | Ceramic, high temp metal
Internal reforming | No | No | No | Yes, Good Temp Match | Yes, Good Temp Match
Oxidant | Air to O2 | Purified Air to O2 | Air to Enriched Air | Air | Air
Operational temperature | 150-180oF (65-85oC) | 190-500oF (90-260oC) | 370-410oF (190-210oC) | 1200-1300oF (650-700oC) | 1350-1850oF (750-1000oC)
DG System level Efficiency, %HHV | 25 to 35% | 32 to 40% | 35 to 45% | 40 to 50% | 45 to 55%
Primary contaminate sensitivities | CO, Sulfur, and NH3 | CO,CO2 and Sulphur | CO<1%, Sulfur | sulfur | sulfur
Characteristic of major fuel cell types

## Slide 31
Prime mover
Fuel Cell

## Slide 32
Prime mover
Fuel Cell

## Slide 33
Prime mover
Fuel Cell

## Slide 34
Characteristics of various power plants
A
Reciprocating Engine
MGT
Fuel cell
Gas turbine
Steam Turbine
Power capacity
MW
0.01-5.0
0.03-0.25
0.005-2.0
0.50-50
0.05-50
Power efficiency(HHV)
%
30-37
23-26
30-46
22-37
15-5
Overall efficiency(HHV)
%
69-78
61-67
65-72
65-72
80
Installation cost (power-only)
$/kW
700-1000
1500-2300
2800-4700
600-1400
300-900
Installation cost (CGS)
$/kW
900-1400
1700-2600
3200-5500
700-1900
300-900
Maintenance cost
$/kWh
0.008-0.018
0.013-0.020
0.02-0.040
0.004-0.010
<0.004
NOx Emissions
lb/MWh
0.2-6.0
0.5-1.25
<0.10
0.8-2.4
B
(Diesel Engine)
Power capacity
MW
0.02-10.0
0.03-0.20
0.05-1.0
>1.0
>1.0
Power efficiency(HHV)
%
36-43
25-30
35-54
n.a.
21-40
Package cost (power only)
$/kW
125-300
350-750
1500-3000
n.a.
300-600
Installation cost (power-only)
$/kW
350-500
600-1100
1900-3500
5000-10000
650-900
Exhaust heat exchanger cost
$/kW
n.a.
75-350
incl.
n.a.
100-200
Maintenance cost
$/kWh
0.005-0.010
0.005-0.010
0.005-0.010
0.001-0.004
0.003-0.008
C
PV
ANational Renewable Energy Laboratory, Gas-Fired Distributed Energy Resource Technology Characterizations, 2003, pg. 1-8.
BK. Ishii, Micro Gas turbine system, Ohm Co., 2002，pp. 146，169．
Table 1.3 Comparison of cost and basic specifications of every prime mover
Power efficiency(HHV)
%
24
30
30
Power to weight ratio
kW/t
280
150
30
Combustion temperature
℃
840
<1500
>2000
NOx Emissions
ppm
9
50
900
Installation cost (power-only)※
×104yen/kW
20
20
>70
90
CDistributed Generation Forum, The role of Distributed Generation in Competitive Energy Markets, 1999, pp. 4.

## Slide 35
Prime Mover Indices

## Slide 36
Waste heat utilization concept
Foley G, DeVault R, Sweetser R. Future of absorption technology in America:a critical look at the impact of BCHP and innovation. In: Advanced building systems e 2000 conference, USA; 2000.

## Slide 37
Operation Mode
Main operation modes of a co/trigeneration system are as below:
Heat-match mode: It matches the thermal output of a co/trigeneration system to the thermal load. Excess power is sold to the grid when it is higher than power load; power is purchased from the grid when it is lower.
Electricity-match mode: It matches the power output of a co/trigeneration system to the powerload. Excess heat is released to environment when it is higher than power load; heat is produced by auxiliary boiler when it is lower.
Mixed-match mode: It matches to thermal load or power load depends on considerations of load levels, tariff of fuel and electricity at the particular time.
Stand-alone mode: It matches both load and therefore it usually needs battery and thermal storage to store when there is excess and to use them back when there is shortage. Thus, it needs more equipment and more expensive.

## Slide 38
CL5B
Calculate life-time profit (Net Profit) for all distributed generation types under Feed-in Tariff scheme. Use dollar currency for the calculation. Important parameters are shown below;
Maximum capacity: 300kW Biogas price: 0.50 RM/m3
Biogas heating value: 21.5 MJ/m3 Interest rate: 3.5%
Period: 21 years
Max demand: 300 kW (Load factor of 1.0, all are sold to grid)
Average solar availability: 0.18 (PV can only generate 30% of its maximum capacity)
Currency: 1$ = RM3.10
*Assume that the distributed generation running non-stop for 21years.
Net Present Value= Electricity sold- capital cost-fuel cost- O&M cost
DG types | Capital cost [$/kW] | Power generation efficiency [-] | Operation & Maintenance Cost ($/kWh) | FIT electricity price (RM/kWh)
Biogas-fuelled Diesel Engine | 125 | 0.43 | 0.005 | 0.32
Biogas-fuelled Gas Engine | 250 | 0.42 | 0.007 | 0.32
Biogas-fuelled Micro Gas Turbine | 350 | 0.30 | 0.005 | 0.32
Biogas-fuelled Fuel Cell | 1900 | 0.54 | 0.005 | 0.32
Photovoltaic | 3000 |  | 0.001 | 1.23