## Slide 1: Power Plant Technology Course Information
by
Mohamad Firdaus Basrawi, Dr. (Eng) Mechanical Engineering Faculty mfirdausb@ump.edu.my

## Slide 2
1 | Course Code and Name | BMM4733 Power Plant Technology
2 | Semester and Year Taught | Semester 7/8 Year 4
3 | Program Level/Category | Degree/ Mechanical Electives
4 | Unit | 3 Credits
5 | Prerequisite | BMM2523 Thermodynamics 2 and BMM2543 Fluid Mechanics 2
6 | Teaching Methods | Lecture: 3 units (3 hours X 14 weeks) Tutorial: 0 unit (0 hour X 14 weeks) Laboratory: 0 unit (0 hours X 14 weeks)
7 | Course Synopsis | This course discusses power plant systems such as steam turbines, gas turbines, combined cycle power plants and sustainable energy power systems. This course also covers fuels and combustions, economics of power generation, and environmental issues on power generation.

## Slide 3
8 | Course Outcomes | By the end of the semester, students should be able to: CO1: Analyze performance for steam cycle power plants and gas turbines based on thermodynamics calculation. CO2: Apply fundamental knowledge in fuels and combustions for steam cycle power plants. CO3: Analyze environmental problems, their causes and solutions that are related to the power generation sector. CO4: Analyze performance of combined cycles and renewable energy power systems based on thermodynamics calculation. C05: Analyze performance of advanced power generation systems based on thermo-economics calculation. |  |  |  |  |  | 
9 | Assessment Methods | Assessments | CO1 | CO2 | CO3 | CO4 | C05 | Distribution
 |  | Mid. Semester Examination | √ | √ |  |  |  | 30 %
 |  | Assignments and Presentation | √ | √ | √ | √ | √ | 30 %
 |  | Final Exam | √ | √ | √ | √ | √ | 40 %
 |  | Total |  |  |  |  |  | 100 %
10 | References | P. K. Nag 2002. Power Plant Engineering. 2nd Edition, McGraw-Hill International Editions. M. M. El-Wakil, 1984. Power Plant Technology. 1st Edition, McGraw-Hill International Editions. E. B. Woodruff, 2005. Steam Plant Operation. 8th Edition, McGraw-Hill. LOD Harvey (2006), A Handbook on Low-Energy Buildings and District-Energy Systems, Earthsean. Midwest CHP Application Center (2005), Combined Heat & Power (CHP) Resource Guide. |  |  |  |  |  |