## Slide 1: Review Questions
Author: Nurul Azyyati Sabri
Co-Author / Editor: Rama Yusvana

## Slide 2: Question 1
In establishing a new biomanufacturing company, a set of guidelines must be followed in order for the company to comply with the current Good Manufacturing Practices (GMP).
  List FIVE (5) factors or aspects of the biomanufacturing processes that are important in compliance with the GMP.
  Discuss FIVE (5) factors or issues that are important in company’s operation in order to prevent products contamination or mixed up with other samples.

## Slide 3: Question 2
Discuss FIVE (5) factors or issues that are important in terms of the physical built, environmental controls, guaranteed products quality as well as ease of maintenance of the existing laboratory equipments.
Discuss FIVE (5) factors or issues in relation to the building design and construction features, building ventilation, lighting as well as air filtration system.